## ef_w_centrif_leak_vent_data
leak_or_vent_id | industry_segment | measurement_date | ch4_emissions_vented | leak_or_vent_emiss_released | measurement_method | cont_measurements_conducted | compressor_operating_mode | facility_name | table_num | as_found_measurement_conducted | percent_time_dev_operational | facility_id | co2_emissions_vented | measurement_flow_rate | reporting_year | measurement_location | table_desc | measured_volume | compressor_not_operating_mode | include_compressor_blowdowns | single_source_or_manifold_grp
0 | Onshore natural gas processing [98.230(a)(3)] | 2015-01-01 |  |  | High volume sampler |  | 0 | ELK CITY GAS PLANT | Table O.3.i |  |  | 1006726 |  | 0E-10 | 2015 | Prior to commingling | Leak or Vent “As Found” Measurement Sample Data |  | 0
0 | Onshore natural gas processing [98.230(a)(3)] | 2015-01-01 |  |  | High volume sampler |  | 0 | HOBART 277 CRYOGENIC PLANT | Table O.3.i |  |  | 1003078 |  | 0E-10 | 2015 | Prior to commingling | Leak or Vent “As Found” Measurement Sample Data |  | 0
0 | Onshore natural gas processing [98.230(a)(3)] | 2015-01-01 |  |  | High volume sampler |  | 0 | HOBART RANCH GAS PLANT | Table O.3.i |  |  | 1004624 |  | 0E-10 | 2015 | Prior to commingling | Leak or Vent “As Found” Measurement Sample Data |  | 0
0 | Onshore natural gas processing [98.230(a)(3)] | 2015-01-01 |  |  | High volume sampler |  | 0 | MARQUEZ PLANT | Table O.3.i |  |  | 1003077 |  | 0E-10 | 2015 | Prior to commingling | Leak or Vent “As Found” Measurement Sample Data |  | 0
0 | Onshore natural gas processing [98.230(a)(3)] | 2015-01-01 |  |  | High volume sampler |  | 0 | Tenaha Plant | Table O.3.i |  |  | 1010358 |  | 0E-10 | 2015 | Prior to commingling | Leak or Vent “As Found” Measurement Sample Data |  | 0
0 | Onshore natural gas processing [98.230(a)(3)] | 2015-01-01 |  |  | High volume sampler |  | 0 | Zider | Table O.3.i |  |  | 1010592 |  | 0E-10 | 2015 | Prior to commingling | Leak or Vent “As Found” Measurement Sample Data |  | 0
0 | Onshore natural gas processing [98.230(a)(3)] |  | 0E-10 | Atmosphere |  | No |  | ELK CITY GAS PLANT | Table O.2.ii and O.4 | No |  | 1006726 | 0E-10 |  | 2015 |  | Compressor Leak or Vent Data and Continuous Measurement |  |  |  | Single
0 | Onshore natural gas processing [98.230(a)(3)] |  | 0E-10 | Atmosphere |  | No |  | HOBART 277 CRYOGENIC PLANT | Table O.2.ii and O.4 | No |  | 1003078 | 0E-10 |  | 2015 |  | Compressor Leak or Vent Data and Continuous Measurement |  |  |  | Single
0 | Onshore natural gas processing [98.230(a)(3)] |  | 0E-10 | Atmosphere |  | No |  | HOBART RANCH GAS PLANT | Table O.2.ii and O.4 | No |  | 1004624 | 0E-10 |  | 2015 |  | Compressor Leak or Vent Data and Continuous Measurement |  |  |  | Single
0 | Onshore natural gas processing [98.230(a)(3)] |  | 0E-10 | Atmosphere |  | No |  | MARQUEZ PLANT | Table O.2.ii and O.4 | No |  | 1003077 | 0E-10 |  | 2015 |  | Compressor Leak or Vent Data and Continuous Measurement |  |  |  | Single
0 | Onshore natural gas processing [98.230(a)(3)] |  | 0E-10 | Atmosphere |  | No |  | Tenaha Plant | Table O.2.ii and O.4 | No |  | 1010358 | 0E-10 |  | 2015 |  | Compressor Leak or Vent Data and Continuous Measurement |  |  |  | Single