## pp_co2_flow_measure_equipment
equipment_calibration_standard | facility_id | reporting_year | measurement_equipment_type | facility_name
100% Nitrogen flow test with regulated pressure | 1004818 | 2010 | Mass flow meter | SUNOCO FULTON ETHANOL PLANT
100% Nitrogen flow test with regulated pressure | 1004818 | 2011 | Mass flow meter | SUNOCO FULTON ETHANOL PLANT
100% Nitrogen flow test with regulated pressure | 1004818 | 2012 | Mass flow meter | SUNOCO FULTON ETHANOL PLANT
100% Nitrogen flow test with regulated pressure | 1004818 | 2013 | Mass flow meter | Attis Ethanol Fulton, LLC
100% Nitrogen flow test with regulated pressure | 1004818 | 2014 | Mass flow meter | Attis Ethanol Fulton, LLC
100% Nitrogen flow test with regulated pressure | 1004818 | 2015 | Mass flow meter | Attis Ethanol Fulton, LLC
3095 Instruction Manual 00809-0100-4716 Revision GA | 1002003 | 2010 | Mass flow meter | E I DU PONT DE NEMOURS LA PORTE PLANT
3095 Instruction Manual 00809-0100-4716 Revision GA | 1002003 | 2011 | Mass flow meter | E I DU PONT DE NEMOURS LA PORTE PLANT
3095 Instruction Manual 00809-0100-4716 Revision GA | 1002003 | 2012 | Mass flow meter | E I DU PONT DE NEMOURS LA PORTE PLANT
3095 Instruction Manual 00809-0100-4716 Revision GA | 1002003 | 2013 | Mass flow meter | E I DU PONT DE NEMOURS LA PORTE PLANT
3095 Instruction Manual 00809-0100-4716 Revision GA | 1002003 | 2014 | Mass flow meter | E I DU PONT DE NEMOURS LA PORTE PLANT